## Mulplier and season f 2018_22
| Power | 1.6 |  |  |  |  | Limits | MIN | MAX
| Monthly multiplier M | 1.2 |  | Daily multiplier D | 2 |  | Multipliers Q and M | 1 | 1.5
| Quarterly multiplier Q | 1.1 |  | Within day multiplier WD | 2.2 |  | Multipliers D and WD | 1 | 3
Seasonal factors and multipliers based on average Q transported in 2018. - 2022., st=1.6
| Month | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | Sum
a,b | Monthly quantity (mil m3) | 415.6206 | 344.0861 | 313.7666 | 208.3914 | 174.4794 | 165.2014 | 180.0295 | 176.2671 | 197.6353 | 252.3357 | 331.1387 | 393.4247 | 3152.3765 | b)
c | Monthly participation | 0.13184 | 0.10915 | 0.099533 | 0.066106 | 0.055349 | 0.052405 | 0.057109 | 0.055916 | 0.062694 | 0.080046 | 0.10504 | 0.1248
d | Monthly participation * 12 | 1.5821 | 1.3098 | 1.1944 | 0.79327 | 0.66418 | 0.62886 | 0.68531 | 0.67099 | 0.75233 | 0.96055 | 1.2605 | 1.4976 | 12
e | Seasonal factor - M | 2.08 | 1.54 | 1.33 | 0.69 | 0.52 | 0.48 | 0.55 | 0.53 | 0.63 | 0.94 | 1.45 | 1.91 | 1.0542
f | Season. factor*multiplier M | 2.496 | 1.848 | 1.596 | 0.828 | 0.624 | 0.576 | 0.66 | 0.636 | 0.756 | 1.128 | 1.74 | 2.292 | 1.265 | Seasonal factor is OK.
h | Corrected Seasonal factor - M | 2.08 | 1.54 | 1.33 | 0.69 | 0.52 | 0.48 | 0.55 | 0.53 | 0.63 | 0.94 | 1.45 | 1.91 | 1.0542
g | Kor. season factor*multi M | 2.496 | 1.848 | 1.596 | 0.828 | 0.624 | 0.576 | 0.66 | 0.636 | 0.756 | 1.128 | 1.74 | 2.292 | 1.265
| Seasonal factor Q ver.1 | 1.65 |  |  | 0.56333 |  |  | 0.57 |  |  | 1.4333 |  |  | 1.0542
| Seas. factor*multiplier Q v1 | 1.815 |  |  | 0.61967 |  |  | 0.627 |  |  | 1.5767 |  |  | 1.1596 | Seasonal factor is OK.
| Corrected Seasonal factor Q | 1.65 |  |  | 0.56333 |  |  | 0.57 |  |  | 1.4333 |  |  | 1.1596
| Seasonal factor Q ver.2 | 1.6 |  |  | 0.6 |  |  | 0.6 |  |  | 1.4 |  |  | 1.05
| Seas. factor*multiplier Q v2 | 1.76 |  |  | 0.66 |  |  | 0.66 |  |  | 1.54 |  |  | 1.155 | Seasonal factor is OK.
| Corrected Seasonal factor Q | 1.6 |  |  | 0.6 |  |  | 0.6 |  |  | 1.4 |  |  | 1.05
|  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal
| Seasonal factor - D | 2.08 | 1.54 | 1.33 | 0.69 | 0.52 | 0.48 | 0.55 | 0.53 | 0.63 | 0.94 | 1.45 | 1.91 | 1.0542
| Season. factor*multiplier D | 4.16 | 3.08 | 2.66 | 1.38 | 1.04 | 0.96 | 1.1 | 1.06 | 1.26 | 1.88 | 2.9 | 3.82 | 2.1083 | Seasonal factor is OK.
| Corrected Seasonal factor - D | 2.08 | 1.54 | 1.33 | 0.69 | 0.52 | 0.48 | 0.55 | 0.53 | 0.63 | 0.94 | 1.45 | 1.91
| Kor. season factor*multi D | 4.16 | 3.08 | 2.66 | 1.38 | 1.04 | 0.96 | 1.1 | 1.06 | 1.26 | 1.88 | 2.9 | 3.82
| Seasonal factor WD | 2.08 | 1.54 | 1.33 | 0.69 | 0.52 | 0.48 | 0.55 | 0.53 | 0.63 | 0.94 | 1.45 | 1.91 | 1.0542
| Season. factor*multiplier WD | 4.576 | 3.388 | 2.926 | 1.518 | 1.144 | 1.056 | 1.21 | 1.166 | 1.386 | 2.068 | 3.19 | 4.202 | 2.3192 | Seasonal factor is OK.
| Corrected Seasonal factor WD | 2.08 | 1.54 | 1.33 | 0.69 | 0.52 | 0.48 | 0.55 | 0.53 | 0.63 | 0.94 | 1.45 | 1.91
| Kor. season factor*multi WD | 4.576 | 3.388 | 2.926 | 1.518 | 1.144 | 1.056 | 1.21 | 1.166 | 1.386 | 2.068 | 3.19 | 4.202
Note on C19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.

## Mulplier and season factor 2018
| Power | 1.6 |  |  |  |  | Limits | MIN | MAX
| Monthly multiplier M | 1.2 |  | Daily multiplier D | 2 |  | Multipliers Q and M | 1 | 1.5
| Quarterly multiplier Q | 1.1 |  | Within day multiplier WD | 2.2 |  | Multipliers D and WD | 1 | 3
Seasonal factors and multipliers based on Q transported in 2018, st=1.6
| Month | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | Sum
a,b | Monthly quantity (mil m3) | 364.939 | 366.9882 | 340.675 | 177.2112 | 197.9961 | 200.5848 | 169.6032 | 182.6827 | 196.6838 | 202.3379 | 298.005 | 377.6832 | 3075.3902 | b)
c | Monthly participation | 0.11866 | 0.11933 | 0.11077 | 0.057622 | 0.064381 | 0.065223 | 0.055149 | 0.059401 | 0.063954 | 0.065793 | 0.0969 | 0.12281 | 0.66178
d | Monthly participation * 12 | 1.424 | 1.432 | 1.3293 | 0.69147 | 0.77257 | 0.78267 | 0.66178 | 0.71282 | 0.76745 | 0.78951 | 1.1628 | 1.4737
e | Seasonal factor - M | 1.7604 | 1.7762 | 1.5769 | 0.55416 | 0.66176 | 0.67566 | 0.51659 | 0.58179 | 0.65476 | 0.68513 | 1.2729 | 1.8597 | 1.2576
f | Season. factor*multiplier M | 2.1124 | 2.1314 | 1.8922 | 0.66499 | 0.79411 | 0.81079 | 0.61991 | 0.69815 | 0.78571 | 0.82216 | 1.5275 | 2.2317 | 1.2576 | Seasonal factor is OK.
h | Corrected Seasonal factor - M | 1.7604 | 1.7762 | 1.5769 | 0.55416 | 0.66176 | 0.67566 | 0.51659 | 0.58179 | 0.65476 | 0.68513 | 1.2729 | 1.8597 | 1.2576
g | Kor. season factor*multi M | 2.1124 | 2.1314 | 1.8922 | 0.66499 | 0.79411 | 0.81079 | 0.61991 | 0.69815 | 0.78571 | 0.82216 | 1.5275 | 2.2317 | 1.2576
| Seasonal factor Q ver.1 | 1.7045 |  |  | 0.63053 |  |  | 0.58438 |  |  | 1.2726 |  |  | 1.1528
| Seas. factor*multiplier Q v1 | 1.8749 |  |  | 0.69358 |  |  | 0.64282 |  |  | 1.3999 |  |  | 1.1528 | Seasonal factor is OK.
| Corrected Seasonal factor Q | 1.7045 |  |  | 0.63053 |  |  | 0.58438 |  |  | 1.2726 |  |  | 1.1528
| Seasonal factor Q ver.2 | 1.7045 |  |  | 0.63053 |  |  | 0.58438 |  |  | 1.2726 |  |  | 1.1528
| Seas. factor*multiplier Q v2 | 1.8749 |  |  | 0.69358 |  |  | 0.64282 |  |  | 1.3999 |  |  | 1.2681 | Seasonal factor is OK.
| Corrected Seasonal factor Q | 1.7045 |  |  | 0.63053 |  |  | 0.58438 |  |  | 1.2726 |  |  | 1.1528
|  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal
| Seasonal factor - D | 1.7604 | 1.7762 | 1.5769 | 0.55416 | 0.66176 | 0.67566 | 0.51659 | 0.58179 | 0.65476 | 0.68513 | 1.2729 | 1.8597 | 2.096
| Season. factor*multiplier D | 3.5207 | 3.5524 | 3.1537 | 1.1083 | 1.3235 | 1.3513 | 1.0332 | 1.1636 | 1.3095 | 1.3703 | 2.5459 | 3.7195 | 2.096 | Seasonal factor is OK.
| Corrected Seasonal factor - D | 1.7604 | 1.7762 | 1.5769 | 0.55416 | 0.66176 | 0.67566 | 0.51659 | 0.58179 | 0.65476 | 0.68513 | 1.2729 | 1.8597 | 2.096
| Kor. season factor*multi D | 3.5207 | 3.5524 | 3.1537 | 1.1083 | 1.3235 | 1.3513 | 1.0332 | 1.1636 | 1.3095 | 1.3703 | 2.5459 | 3.7195 | 4.192
| Seasonal factor WD | 1.7604 | 1.7762 | 1.5769 | 0.55416 | 0.66176 | 0.67566 | 0.51659 | 0.58179 | 0.65476 | 0.68513 | 1.2729 | 1.8597 | 2.3056
| Season. factor*multiplier WD | 3.8728 | 3.9077 | 3.4691 | 1.2192 | 1.4559 | 1.4864 | 1.1365 | 1.2799 | 1.4405 | 1.5073 | 2.8005 | 4.0914 | 2.3056 | Seasonal factor is OK.
| Corrected Seasonal factor WD | 1.7604 | 1.7762 | 1.5769 | 0.55416 | 0.66176 | 0.67566 | 0.51659 | 0.58179 | 0.65476 | 0.68513 | 1.2729 | 1.8597 | 2.3056
| Kor. season factor*multi WD | 3.8728 | 3.9077 | 3.4691 | 1.2192 | 1.4559 | 1.4864 | 1.1365 | 1.2799 | 1.4405 | 1.5073 | 2.8005 | 4.0914 | 5.0723
Note on C19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.
Note on L19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.

## Mulplier and season factor 2019
| Power | 1.6 |  |  |  |  | Limits | MIN | MAX
| Monthly multiplier M | 1.2 |  | Daily multiplier D | 2 |  | Multipliers Q and M | 1 | 1.5
| Quarterly multiplier Q | 1.1 |  | Within day multiplier WD | 2.2 |  | Multipliers D and WD | 1 | 3
Seasonal factors and multipliers based on Q transported in 2019, st=1.6
| Month | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | Sum
a,b | Monthly quantity (mil m3) | 423.5823 | 335.248 | 244.5791 | 147.982 | 153.2046 | 153.24 | 186.3269 | 160.3755 | 197.5097 | 256.1019 | 287.9618 | 349.733 | 2895.8448 | b)
c | Monthly participation | 0.14627 | 0.11577 | 0.084459 | 0.051101 | 0.052905 | 0.052917 | 0.064343 | 0.055381 | 0.068205 | 0.088438 | 0.09944 | 0.12077 | 0.61322
d | Monthly participation * 12 | 1.7553 | 1.3892 | 1.0135 | 0.61322 | 0.63486 | 0.63501 | 0.77211 | 0.66457 | 0.81845 | 1.0613 | 1.1933 | 1.4492
e | Seasonal factor - M | 2.4601 | 1.6921 | 1.0217 | 0.45728 | 0.48338 | 0.48355 | 0.66114 | 0.52008 | 0.72576 | 1.0998 | 1.3267 | 1.8106 | 1.2742
f | Season. factor*multiplier M | 2.9521 | 2.0306 | 1.226 | 0.54874 | 0.58005 | 0.58026 | 0.79336 | 0.6241 | 0.87091 | 1.3197 | 1.5921 | 2.1727 | 1.2742 | Seasonal factor is OK.
h | Corrected Seasonal factor - M | 2.4601 | 1.6921 | 1.0217 | 0.45728 | 0.48338 | 0.48355 | 0.66114 | 0.52008 | 0.72576 | 1.0998 | 1.3267 | 1.8106 | 1.2742
g | Kor. season factor*multi M | 2.9521 | 2.0306 | 1.226 | 0.54874 | 0.58005 | 0.58026 | 0.79336 | 0.6241 | 0.87091 | 1.3197 | 1.5921 | 2.1727 | 1.5291
| Seasonal factor Q ver.1 | 1.7246 |  |  | 0.47474 |  |  | 0.63566 |  |  | 1.4124 |  |  | 1.168
| Seas. factor*multiplier Q v1 | 1.8971 |  |  | 0.52221 |  |  | 0.69922 |  |  | 1.5536 |  |  | 1.168 | Seasonal factor is OK.
| Corrected Seasonal factor Q | 1.7246 |  |  | 0.47474 |  |  | 0.63566 |  |  | 1.4124 |  |  | 1.168
| Seasonal factor Q ver.2 | 1.7246 |  |  | 0.47474 |  |  | 0.63566 |  |  | 1.4124 |  |  | 1.168
| Seas. factor*multiplier Q v2 | 1.8971 |  |  | 0.52221 |  |  | 0.69922 |  |  | 1.5536 |  |  | 1.168 | Seasonal factor is OK.
| Corrected Seasonal factor Q | 1.7246 |  |  | 0.47474 |  |  | 0.63566 |  |  | 1.4124 |  |  | 1.168
|  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal
| Seasonal factor - D | 2.4601 | 1.6921 | 1.0217 | 0.45728 | 0.48338 | 0.48355 | 0.66114 | 0.52008 | 0.72576 | 1.0998 | 1.3267 | 1.8106 | 2.1237
| Season. factor*multiplier D | 4.9202 | 3.3843 | 2.0434 | 0.91456 | 0.96675 | 0.96711 | 1.3223 | 1.0402 | 1.4515 | 2.1996 | 2.6535 | 3.6212 | 2.1237 | Seasonal factor is OK.
| Corrected Seasonal factor - D | 2.4601 | 1.6921 | 1.0217 | 0.45728 | 0.48338 | 0.48355 | 0.66114 | 0.52008 | 0.72576 | 1.0998 | 1.3267 | 1.8106 | 2.1237
| Kor. season factor*multi D | 4.9202 | 3.3843 | 2.0434 | 0.91456 | 0.96675 | 0.96711 | 1.3223 | 1.0402 | 1.4515 | 2.1996 | 2.6535 | 3.6212 | 2.1237
| Seasonal factor WD | 2.4601 | 1.6921 | 1.0217 | 0.45728 | 0.48338 | 0.48355 | 0.66114 | 0.52008 | 0.72576 | 1.0998 | 1.3267 | 1.8106 | 2.3361
| Season. factor*multiplier WD | 5.4122 | 3.7227 | 2.2477 | 1.006 | 1.0634 | 1.0638 | 1.4545 | 1.1442 | 1.5967 | 2.4195 | 2.9188 | 3.9834 | 2.3361 | Seasonal factor is OK.
| Corrected Seasonal factor WD | 2.4601 | 1.6921 | 1.0217 | 0.45728 | 0.48338 | 0.48355 | 0.66114 | 0.52008 | 0.72576 | 1.0998 | 1.3267 | 1.8106 | 2.3361
| Kor. season factor*multi WD | 5.4122 | 3.7227 | 2.2477 | 1.006 | 1.0634 | 1.0638 | 1.4545 | 1.1442 | 1.5967 | 2.4195 | 2.9188 | 3.9834 | 2.3361
Note on C19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.
Note on L19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.

## Mulplier and season factor 2020
| Power | 1.6 |  |  |  |  | Limits | MIN | MAX
| Monthly multiplier M | 1.2 |  | Daily multiplier D | 2 |  | Multipliers Q and M | 1 | 1.5
| Quarterly multiplier Q | 1.1 |  | Within day multiplier WD | 2.2 |  | Multipliers D and WD | 1 | 3
Seasonal factors and multipliers based on Q transported in 2020, st=1.6
| Month | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | Sum
a,b | Monthly quantity (mil m3) | 405.8511 | 310.7569 | 280.9517 | 177.4492 | 123.4413 | 116.8141 | 155.6073 | 190.4772 | 208.4475 | 241.4074 | 320.1879 | 389.3565 | 2920.7481 | b)
c | Monthly participation | 0.13895 | 0.1064 | 0.096192 | 0.060755 | 0.042264 | 0.039995 | 0.053277 | 0.065215 | 0.071368 | 0.082653 | 0.10963 | 0.13331 | 0.47993
d | Monthly participation * 12 | 1.6675 | 1.2768 | 1.1543 | 0.72906 | 0.50716 | 0.47993 | 0.63932 | 0.78258 | 0.85641 | 0.99183 | 1.3155 | 1.5997
e | Seasonal factor - M | 2.2661 | 1.4783 | 1.2581 | 0.60314 | 0.33747 | 0.30895 | 0.48882 | 0.67554 | 0.78036 | 0.98696 | 1.5508 | 2.1206 | 1.2855
f | Season. factor*multiplier M | 2.7194 | 1.774 | 1.5097 | 0.72377 | 0.40497 | 0.37074 | 0.58658 | 0.81064 | 0.93643 | 1.1844 | 1.8609 | 2.5447 | 1.2855 | Seasonal factor is OK.
h | Corrected Seasonal factor - M | 2.2661 | 1.4783 | 1.2581 | 0.60314 | 0.33747 | 0.30895 | 0.48882 | 0.67554 | 0.78036 | 0.98696 | 1.5508 | 2.1206 | 1.2855
g | Kor. season factor*multi M | 2.7194 | 1.774 | 1.5097 | 0.72377 | 0.40497 | 0.37074 | 0.58658 | 0.81064 | 0.93643 | 1.1844 | 1.8609 | 2.5447 | 1.2855
| Seasonal factor Q ver.1 | 1.6675 |  |  | 0.41652 |  |  | 0.64824 |  |  | 1.5528 |  |  | 1.1784
| Seas. factor*multiplier Q v1 | 1.8343 |  |  | 0.45817 |  |  | 0.71306 |  |  | 1.708 |  |  | 1.1784 | Seasonal factor is OK.
| Corrected Seasonal factor Q | 1.6675 |  |  | 0.41652 |  |  | 0.64824 |  |  | 1.5528 |  |  | 1.1784
| Seasonal factor Q ver.2 | 1.6675 |  |  | 0.41652 |  |  | 0.64824 |  |  | 1.5528 |  |  | 1.1784
| Seas. factor*multiplier Q v2 | 1.8343 |  |  | 0.45817 |  |  | 0.71306 |  |  | 1.708 |  |  | 1.1784 | Seasonal factor is OK.
| Corrected Seasonal factor Q | 1.6675 |  |  | 0.41652 |  |  | 0.64824 |  |  | 1.5528 |  |  | 1.1784
|  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal
| Seasonal factor - D | 2.2661 | 1.4783 | 1.2581 | 0.60314 | 0.33747 | 0.30895 | 0.48882 | 0.67554 | 0.78036 | 0.98696 | 1.5508 | 2.1206 | 2.1425
| Season. factor*multiplier D | 4.5323 | 2.9567 | 2.5162 | 1.2063 | 0.67494 | 0.61791 | 0.97764 | 1.3511 | 1.5607 | 1.9739 | 3.1015 | 4.2412 | 2.1425 | Seasonal factor is OK.
| Corrected Seasonal factor - D | 2.2661 | 1.4783 | 1.2581 | 0.60314 | 0.33747 | 0.30895 | 0.48882 | 0.67554 | 0.78036 | 0.98696 | 1.5508 | 2.1206 | 2.1425
| Kor. season factor*multi D | 4.5323 | 2.9567 | 2.5162 | 1.2063 | 0.67494 | 0.61791 | 0.97764 | 1.3511 | 1.5607 | 1.9739 | 3.1015 | 4.2412 | 2.1425
| Seasonal factor WD | 2.2661 | 1.4783 | 1.2581 | 0.60314 | 0.33747 | 0.30895 | 0.48882 | 0.67554 | 0.78036 | 0.98696 | 1.5508 | 2.1206 | 2.3568
| Season. factor*multiplier WD | 4.9855 | 3.2523 | 2.7678 | 1.3269 | 0.74244 | 0.6797 | 1.0754 | 1.4862 | 1.7168 | 2.1713 | 3.4117 | 4.6653 | 2.3568 | Seasonal factor is OK.
| Corrected Seasonal factor WD | 2.2661 | 1.4783 | 1.2581 | 0.60314 | 0.33747 | 0.30895 | 0.48882 | 0.67554 | 0.78036 | 0.98696 | 1.5508 | 2.1206 | 2.3568
| Kor. season factor*multi WD | 4.9855 | 3.2523 | 2.7678 | 1.3269 | 0.74244 | 0.6797 | 1.0754 | 1.4862 | 1.7168 | 2.1713 | 3.4117 | 4.6653 | 2.3568
Note on C19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.
Note on F19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.
Note on I19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.
Note on L19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.

## Mulplier and season factor 2021
| Power | 1.6 |  |  |  |  | Limits | MIN | MAX
| Monthly multiplier M | 1.2 |  | Daily multiplier D | 2 |  | Multipliers Q and M | 1 | 1.5
| Quarterly multiplier Q | 1.1 |  | Within day multiplier WD | 2.2 |  | Multipliers D and WD | 1 | 3
Seasonal factors and multipliers based on Q transported in 2021, st=1.6
| Month | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | Sum
a,b | Monthly quantity (mil m3) | 393.5382 | 333.4705 | 331.025 | 266.0965 | 190.7547 | 187.5659 | 188.8029 | 166.6487 | 200.2521 | 298.4443 | 348.3703 | 430.1647 | 3335.1337 | b)
c | Monthly participation | 0.118 | 0.099987 | 0.099254 | 0.079786 | 0.057196 | 0.056239 | 0.05661 | 0.049968 | 0.060043 | 0.089485 | 0.10445 | 0.12898 | 0.59961
d | Monthly participation * 12 | 1.416 | 1.1998 | 1.191 | 0.95743 | 0.68635 | 0.67487 | 0.67932 | 0.59961 | 0.72052 | 1.0738 | 1.2535 | 1.5478
e | Seasonal factor - M | 1.7446 | 1.3384 | 1.3228 | 0.93276 | 0.54761 | 0.53303 | 0.53867 | 0.44116 | 0.59188 | 1.1207 | 1.4354 | 2.0115 | 1.2559
f | Season. factor*multiplier M | 2.0935 | 1.6061 | 1.5873 | 1.1193 | 0.65713 | 0.63964 | 0.6464 | 0.52939 | 0.71025 | 1.3448 | 1.7225 | 2.4138 | 1.2559 | Seasonal factor is OK.
h | Corrected Seasonal factor - M | 1.7446 | 1.3384 | 1.3228 | 0.93276 | 0.54761 | 0.53303 | 0.53867 | 0.44116 | 0.59188 | 1.1207 | 1.4354 | 2.0115 | 1.2559
g | Kor. season factor*multi M | 2.0935 | 1.6061 | 1.5873 | 1.1193 | 0.65713 | 0.63964 | 0.6464 | 0.52939 | 0.71025 | 1.3448 | 1.7225 | 2.4138 | 1.2559
| Seasonal factor Q ver.1 | 1.4686 |  |  | 0.67113 |  |  | 0.5239 |  |  | 1.5225 |  |  | 1.1512
| Seas. factor*multiplier Q v1 | 1.6155 |  |  | 0.73825 |  |  | 0.57629 |  |  | 1.6748 |  |  | 1.1512 | Seasonal factor is OK.
| Corrected Seasonal factor Q | 1.4686 |  |  | 0.67113 |  |  | 0.5239 |  |  | 1.5225 |  |  | 1.1512
| Seasonal factor Q ver.2 | 1.4686 |  |  | 0.67113 |  |  | 0.5239 |  |  | 1.5225 |  |  | 1.1512
| Seas. factor*multiplier Q v2 | 1.6155 |  |  | 0.73825 |  |  | 0.57629 |  |  | 1.6748 |  |  | 1.1512 | Seasonal factor is OK.
| Corrected Seasonal factor Q | 1.4686 |  |  | 0.67113 |  |  | 0.5239 |  |  | 1.5225 |  |  | 1.1512
|  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal
| Seasonal factor - D | 1.7446 | 1.3384 | 1.3228 | 0.93276 | 0.54761 | 0.53303 | 0.53867 | 0.44116 | 0.59188 | 1.1207 | 1.4354 | 2.0115 | 2.0931
| Season. factor*multiplier D | 3.4891 | 2.6769 | 2.6456 | 1.8655 | 1.0952 | 1.0661 | 1.0773 | 0.88231 | 1.1838 | 2.2414 | 2.8708 | 4.023 | 2.0931 | Seasonal factor is OK.
| Corrected Seasonal factor - D | 1.7446 | 1.3384 | 1.3228 | 0.93276 | 0.54761 | 0.53303 | 0.53867 | 0.44116 | 0.59188 | 1.1207 | 1.4354 | 2.0115 | 2.0931
| Kor. season factor*multi D | 3.4891 | 2.6769 | 2.6456 | 1.8655 | 1.0952 | 1.0661 | 1.0773 | 0.88231 | 1.1838 | 2.2414 | 2.8708 | 4.023 | 2.0931
| Seasonal factor WD | 1.7446 | 1.3384 | 1.3228 | 0.93276 | 0.54761 | 0.53303 | 0.53867 | 0.44116 | 0.59188 | 1.1207 | 1.4354 | 2.0115 | 2.3024
| Season. factor*multiplier WD | 3.838 | 2.9446 | 2.9101 | 2.0521 | 1.2047 | 1.1727 | 1.1851 | 0.97054 | 1.3021 | 2.4655 | 3.1579 | 4.4253 | 2.3024 | Seasonal factor is OK.
| Corrected Seasonal factor WD | 1.7446 | 1.3384 | 1.3228 | 0.93276 | 0.54761 | 0.53303 | 0.53867 | 0.44116 | 0.59188 | 1.1207 | 1.4354 | 2.0115 | 2.3024
| Kor. season factor*multi WD | 3.838 | 2.9446 | 2.9101 | 2.0521 | 1.2047 | 1.1727 | 1.1851 | 0.97054 | 1.3021 | 2.4655 | 3.1579 | 4.4253 | 2.3024
Note on C19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.
Note on F19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.
Note on I19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.
Note on L19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.

## Mulplier and season factor 2022
| Power | 1.6 |  |  |  |  | Limits | MIN | MAX
| Monthly multiplier M | 1.2 |  | Daily multiplier D | 2 |  | Multipliers Q and M | 1 | 1.5
| Quarterly multiplier Q | 1.1 |  | Within day multiplier WD | 2.2 |  | Multipliers D and WD | 1 | 3
Seasonal factors and multipliers based on Q transported in 2022, st=1.6
| Month | I | II | III | IV | V | VI | VII | VIII | IX | X | XI | XII | Sum
a,b | Monthly quantity (mil m3) | 490.1925 | 373.967 | 371.602 | 273.2179 | 207.0002 | 167.8022 | 199.8071 | 181.1517 | 185.2834 | 263.3869 | 401.1683 | 420.1862 | 3534.7655 | b)
c | Monthly participation | 0.13868 | 0.1058 | 0.10513 | 0.077295 | 0.058561 | 0.047472 | 0.056526 | 0.051249 | 0.052417 | 0.074513 | 0.11349 | 0.11887 | 0.56966
d | Monthly participation * 12 | 1.6641 | 1.2696 | 1.2615 | 0.92753 | 0.70273 | 0.56966 | 0.67832 | 0.61498 | 0.62901 | 0.89416 | 1.3619 | 1.4265
e | Seasonal factor - M | 2.2589 | 1.465 | 1.4502 | 0.8866 | 0.56868 | 0.40643 | 0.53739 | 0.45939 | 0.47627 | 0.83611 | 1.6392 | 1.7653 | 1.275
f | Season. factor*multiplier M | 2.7107 | 1.758 | 1.7403 | 1.0639 | 0.68241 | 0.48772 | 0.64487 | 0.55127 | 0.57152 | 1.0033 | 1.9671 | 2.1184 | 1.275 | Seasonal factor is OK.
h | Corrected Seasonal factor - M | 2.2589 | 1.465 | 1.4502 | 0.8866 | 0.56868 | 0.40643 | 0.53739 | 0.45939 | 0.47627 | 0.83611 | 1.6392 | 1.7653 | 1.275
g | Kor. season factor*multi M | 2.7107 | 1.758 | 1.7403 | 1.0639 | 0.68241 | 0.48772 | 0.64487 | 0.55127 | 0.57152 | 1.0033 | 1.9671 | 2.1184 | 1.275
| Seasonal factor Q ver.1 | 1.7247 |  |  | 0.62057 |  |  | 0.49102 |  |  | 1.4135 |  |  | 1.1687
| Seas. factor*multiplier Q v1 | 1.8972 |  |  | 0.68263 |  |  | 0.54012 |  |  | 1.5549 |  |  | 1.1687 | Seasonal factor is OK.
| Corrected Seasonal factor Q | 1.7247 |  |  | 0.62057 |  |  | 0.49102 |  |  | 1.4135 |  |  | 1.1687
| Seasonal factor Q ver.2 | 1.7247 |  |  | 0.62057 |  |  | 0.49102 |  |  | 1.4135 |  |  | 1.1687
| Seas. factor*multiplier Q v2 | 1.8972 |  |  | 0.68263 |  |  | 0.54012 |  |  | 1.5549 |  |  | 1.1687 | Seasonal factor is OK.
| Corrected Seasonal factor Q | 1.7247 |  |  | 0.62057 |  |  | 0.49102 |  |  | 1.4135 |  |  | 1.1687
|  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal |  |  | min value in quartal <Seasonal Q< max value in quartal
| Seasonal factor - D | 2.2589 | 1.465 | 1.4502 | 0.8866 | 0.56868 | 0.40643 | 0.53739 | 0.45939 | 0.47627 | 0.83611 | 1.6392 | 1.7653 | 2.1249
| Season. factor*multiplier D | 4.5178 | 2.9301 | 2.9005 | 1.7732 | 1.1374 | 0.81287 | 1.0748 | 0.91878 | 0.95254 | 1.6722 | 3.2784 | 3.5306 | 2.1249 | Seasonal factor is OK.
| Corrected Seasonal factor - D | 2.2589 | 1.465 | 1.4502 | 0.8866 | 0.56868 | 0.40643 | 0.53739 | 0.45939 | 0.47627 | 0.83611 | 1.6392 | 1.7653 | 2.1249
| Kor. season factor*multi D | 4.5178 | 2.9301 | 2.9005 | 1.7732 | 1.1374 | 0.81287 | 1.0748 | 0.91878 | 0.95254 | 1.6722 | 3.2784 | 3.5306 | 2.1249
| Seasonal factor WD | 2.2589 | 1.465 | 1.4502 | 0.8866 | 0.56868 | 0.40643 | 0.53739 | 0.45939 | 0.47627 | 0.83611 | 1.6392 | 1.7653 | 2.3374
| Season. factor*multiplier WD | 4.9696 | 3.2231 | 3.1905 | 1.9505 | 1.2511 | 0.89415 | 1.1823 | 1.0107 | 1.0478 | 1.8394 | 3.6063 | 3.8837 | 2.3374 | Seasonal factor is OK.
| Corrected Seasonal factor WD | 2.2589 | 1.465 | 1.4502 | 0.8866 | 0.56868 | 0.40643 | 0.53739 | 0.45939 | 0.47627 | 0.83611 | 1.6392 | 1.7653 | 2.3374
| Kor. season factor*multi WD | 4.9696 | 3.2231 | 3.1905 | 1.9505 | 1.2511 | 0.89415 | 1.1823 | 1.0107 | 1.0478 | 1.8394 | 3.6063 | 3.8837 | 2.3374
Note on C19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.
Note on F19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.
Note on I19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.
Note on L19: Author: Izaberi vrednost >=min i <=max iz vrste sezonski faktor mesečni u tom kvartalu.